## Start
Analysis step | Parameter ID | Parameter description | User provided input | Parameter range
Global parameters (required) | PARAM0001 | Create .msp files for Composite Spectra Analysis (NPA) | YES | "YES" OR "NO", When "YES", fill out the `NPA` tab
| PARAM0002 | Generate a FSDB from reference library files (only .msp files) to annotate untargeted .msp files | NO | "YES" OR "NO", When "YES", fill out the 'FSDB` tab, and when "NO", fill out PARAM0004
| PARAM0003 | Annotate .msp files using a reference library (FSDB) | NO | "YES" OR "NO", When "YES", fill out the 'SpectraSimilarity' tab
Sample import and export | PARAM0004 | Address of the MS/MS library (FSDB) generated using `FSDB` tab | /FSDB//FSDB_name.Rdata | An FSDB library in the .Rdata format
| PARAM0005 | Location of the sample .msp files | path/to/folder/NPA_MSP | Do not fill when PARAM0001 is selected "YES"
| PARAM0006 | Location to save results | path/to/folder | Do not fill when PARAM0001 is selected "YES"

## NPA
Analysis step | Parameter ID | Parameter description | User provided input | Parameter range
Global NPA (required) | NPA0001 | Process individual IDSL.IPA peaklist | YES | "YES" OR "NO", When "YES", fill out NPA0009-NPA0018.
| NPA0002 | Create a library of unique spectra variants | YES | "YES" OR "NO", When "YES", fill out NPA0019-NPA0024.
| NPA0003 | Number of parallel threads | 1 | ≥ 1 (integer)
Data import and export (required) | NPA0004 | Input data location (MS data) | path/to/folder
| NPA0005 | Optional: Address of the reference standard metadata file to generate a list of targeted NPA blocks | NA | Select NA or provide a spreadsheet in .xlsx/.csv formats with four column headers of 'Filename', 'Name', 'MZ', 'RT' (case sensitive). For .txt files, headers should be 'Name', 'MZ', 'RT' (case sensitive). You may provide more information in separate columns to enrich the output reference .msp files.
| NPA0006 | List of HRMS files (.mzXML/.mzML/.CDF) | All | "All" OR a list of semicolon separated of selected samples including their extensions with no extra space (case sensitive)
| NPA0007 | Generate aligned extracted ion chromatograms (EICs) for deconvoluted ions | NO | "YES" OR "NO"
| NPA0008 | Output location (.msp files and EICs) | path/to/folder
Chromatographic peak matching criteria to generate .msp files | NPA0009 | Parallelization mode | Sample Mode | Select "Sample Mode" or "Peak Mode"
| NPA0010 | Retention time window (min) to find co-detected peaks | 0.05 | ≤ 0.1
| NPA0011 | A minimum baseline S/N threshold for chromatographic peaks | 2 | ≥ 2
| NPA0012 | Intensity height threshold for chromatographic peaks | 1000 | ≥ 0
| NPA0013 | Smoothing window (number of scans for smoothing) | 15 | ≥ 5
| NPA0014 | Number of points to smooth individual chromatographic peaks using cubic spline method to increase number of data points for the Pearson's correlation | 100 | 11-1000
| NPA0015 | Percentage of top height of the chromatographic peaks to measure peak correlation similarities (%) | 90 | 50-100
| NPA0016 | Minimum distance (Da) between lowest and highest m/z to prevent clustering only isotopic envelopes | 0 | ≥ 0
| NPA0017 | Minimum number of ions in a NPA cluster | 2 | ≥ 2
| NPA0018 | Pearson’s correlation coefficient threshold | 0.95 | ≥ 0.5
Unique tag aggregation by spectra similarity across entire samples | NPA0019 | Aggregation meta-variable (only when NPA0005 is provided) | Name | Provide a meta-variable from the reference spreadsheet (NPA0005)
| NPA0020 | Export classified spectra plots for individual unique spectra | NO | "YES" OR "NO"
| NPA0021 | Retention time window (min) to find NPA spectra variants or match reference spreadsheet compounds | 0.05 | ≥ 0.001 When the reference spreadsheet is provided (NPA0005), spectra aggregation is performed only using NPA0019 regardless of retention time proximity.
| NPA0022 | Minimum frequency (%) of detection for NPA spectra across all .msp files for untargeted NPA spectra | 10 | ≥ 1 (Default = 10%) You may skip this parameter when the reference spreadsheet is provided (NPA0005)
| NPA0023 | Weighted spectra to measure entropy similarity score. Weighted functions are used to boost the intensity of low abundant peaks described by Li et. al., 2021, Nature Methods | TRUE | TRUE or FALSE
| NPA0024 | Minimum spectral entropy similarity score to find similar NPA spectra | 0.75 | 0 - 1

## FSDB
Analysis step | Parameter ID | Parameter description | User provided input | Parameter range
Data import and export (required) | FSdb0001 | Address of the .msp library (INPUT) msp files | /SpectralLibraries/
| FSdb0002 | Name of the reference .msp files to process | All | Select "All" to include the entire .msp libraries or a list of semicolon separated libraries in the .msp format.
| FSdb0003 | Address to save the FSDB library in .Rdata format | /FSDB/ | Select NA or provide an address to save the FSDB
| FSdb0004 | FSDB file name | FSDB_name | Follow the naming rules in R! IDSL.FSA can generate the .Rdata format
.msp library conversion to FSDB | FSdb0005 | Number of parallel processing threads | 1 | ≥ 1 (integer)
| FSdb0007 | Level of noise removal relative to the basepeak (%) similar to a method described by Li et. al., 2021, Nature Methods | 1 | ≥ 0 (Default = 1%)
| FSdb0009 | Weighted spectra to measure entropy similarity score. Weighted functions are used to boost the intensity of low abundant peaks described by Li et. al., 2021, Nature Methods | TRUE | TRUE or FALSE

## SpectraSimilarity
Analysis step | Parameter ID | Parameter description | User provided input | Parameter range | Github wiki link
MS/MS library annotation criteria on individual .msp files | SPEC0001 | Number of parallel processing threads | 1 | ≥ 1 (integer) | https://github.com/idslme/IDSL.IPA/wiki/Parallelization-Mode
| SPEC0002 | Parallelization mode | Sample Mode | Select "Sample Mode" or "Peak Mode"
| SPEC0004 | Precursor adduct types | NA | Select NA to ignore precursor type match or provide a string vector of precursor types. Precursor types should be inside brackets and quotation marks and preferably with +/- polarity signs. (Ex: c("[M]+", "[M+H]+")) | https://github.com/idslme/IDSL.FSA/wiki/MSP-Standardizations#standardizing-precursor-types
| SPEC0005 | Match precursor m/z | NA | Select `0` in case precursor masses are reliable OR select NA to ignore precursor m/z. We suggest using precursor matching for DDA and MS^E/SWATH-MS/AIF analyses and skipping this parameter for only MS level 1 analyses such as CSA, EI or in-source fragmentation.
| SPEC0006 | Maximum retention time tolerance (min) | NA | Select NA to ignore retention time match
| SPEC0007 | Absolute spectral entropy difference (∆S) for library pre-filtering | 2 | ≥ 0 (Default = 2)
| SPEC0008 | Level of noise removal relative to the basepeak (%) similar to a method described by Li et. al., 2021, Nature Methods | 1 | ≥ 0 (Default = 1%) | https://github.com/idslme/IDSL.FSA/wiki/Spectral-Similarity-Metrics
| SPEC0009 | Minimum cutoff (%) for relative intensity ( = peak intensity/basepeak intensity) to select spectra marker peaks above this cutoff | 20 | 0.001 - 100 (Higher values include less number of spectra marker peaks but with higher intensities)
| SPEC0010 | Minimum percentage of the matched library and sample spectra markers (%) specified by SPEC0009 | 50 | 0 - 100
| SPEC0013 | Weighted spectra to measure entropy similarity score. Weighted functions are used to boost the intensity of low abundant peaks described by Li et. al., 2021, Nature Methods | TRUE | TRUE or FALSE
| SPEC0014 | Minimum distance (Da) between lowest and highest matched m/z to prevent matching only isotopic envelopes | 0 | ≥ 0
| SPEC0015 | Minimum number of matched peaks | 1 | ≥ 1
| SPEC0016 | Minimum spectral entropy similarity score | 0.75 | 0 - 1
| SPEC0017 | Minimum cosine similarity score | 0 | 0 - 1
| SPEC0019 | Maximum number of top hits spectra figures for plotting module | 0 | ≥ 0 (select Inf to export all spectra figures)
| SPEC0020 | Spectra figure format | PNG | (Default = PNG) PDF, SVG